## PCR Set Up
Primers: Parada-universal-16S
PCR Protocol
Reagents | V2 | V1 | All V1 |  | 1/2 RxN for 1.5 mL tube
AmpliTaq Gold Fast PCR Master Mix | 25 | 10 | 1040 | MM | 520 | x2
5 uM Forward Primer | 25 | 0.75 | 78 | Forward | 39 | x2
5 uM Reverse Primer | 25 | 0.75 | 78 | Reverse | 39 | x2
Nuclease-Free Water | 25 | 11.5 | 1196 | H20 | 598 | x2
Template DNA | 25 | 2
Total | 25 | 25 | 2392 |  | 1196 | x2
|  | MM ea well: | 23 | µL
|  | DNA ea well: | 2 | µL
|  | Number of Samples | 96
|  | Pipette Error | 8
|  | Total MM rxns | 104
Thermocycling Conditions
Step | Temp | Time | No of cycles
Initial Denat | 95 | 10 min | 1
Denaturation | 95 | 45 s | 30
Annealing | 50* | 45 s
Extension | 68 | 90 s
Final Exten | 68 | 5 min | 1
Hold | 4 | infinity | 1
Machine:
Program:
*50˚C for 16S. 55˚C for Machida

## Template Plate Layout
Plate Layout | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Sample 1 | Sample 9 | Sample 17 | Sample 25 | Sample 33 | Sample 41 | Sample 49 | Sample 57 | Sample 65 | Sample 73 | Sample 81 | Sample 89
B | Sample 2 | Sample 10 | Sample 18 | Sample 26 | Sample 34 | Sample 42 | Sample 50 | Sample 58 | Sample 66 | Sample 74 | Sample 82 | Sample 90
C | Sample 3 | Sample 11 | Sample 19 | Sample 27 | Sample 35 | Sample 43 | Sample 51 | Sample 59 | Sample 67 | Sample 75 | Sample 83 | Sample 91
D | Sample 4 | Sample 12 | Sample 20 | Sample 28 | Sample 36 | Sample 44 | Sample 52 | Sample 60 | Sample 68 | Sample 76 | Sample 84 | Sample 92
E | Sample 5 | Sample 13 | Sample 21 | Sample 29 | Sample 37 | Sample 45 | Sample 53 | Sample 61 | Sample 69 | Sample 77 | Sample 85 | Sample 93
F | Sample 6 | Sample 14 | Sample 22 | Sample 30 | Sample 38 | Sample 46 | Sample 54 | Sample 62 | Sample 70 | Sample 78 | Sample 86 | Sample 94
G | Sample 7 | Sample 15 | Sample 23 | Sample 31 | Sample 39 | Sample 47 | Sample 55 | Sample 63 | Sample 71 | Sample 79 | Sample 87 | BLANK
H | Sample 8 | Sample 16 | Sample 24 | Sample 32 | Sample 40 | Sample 48 | Sample 56 | Sample 64 | Sample 72 | Sample 80 | Sample 88 | POSITIVE

## Sample Data Sheet Long
Library Number | Plate Name | Plate Number | Column | Row | Sample Name | Metabarcoding Marker
1 | OME P1 Sequencing 16S microbial | 1 | 1 | A | Sample 1 | 16S microbial
2 | OME P1 Sequencing 16S microbial | 1 | 1 | B | Sample 2 | 16S microbial
3 | OME P1 Sequencing 16S microbial | 1 | 1 | C | Sample 3 | 16S microbial
4 | OME P1 Sequencing 16S microbial | 1 | 1 | D | Sample 4 | 16S microbial
5 | OME P1 Sequencing 16S microbial | 1 | 1 | E | Sample 5 | 16S microbial
6 | OME P1 Sequencing 16S microbial | 1 | 1 | F | Sample 6 | 16S microbial
7 | OME P1 Sequencing 16S microbial | 1 | 1 | G | Sample 7 | 16S microbial
8 | OME P1 Sequencing 16S microbial | 1 | 1 | H | Sample 8 | 16S microbial
9 | OME P1 Sequencing 16S microbial | 1 | 2 | A | Sample 9 | 16S microbial
10 | OME P1 Sequencing 16S microbial | 1 | 2 | B | Sample 10 | 16S microbial
11 | OME P1 Sequencing 16S microbial | 1 | 2 | C | Sample 11 | 16S microbial
12 | OME P1 Sequencing 16S microbial | 1 | 2 | D | Sample 12 | 16S microbial
13 | OME P1 Sequencing 16S microbial | 1 | 2 | E | Sample 13 | 16S microbial
14 | OME P1 Sequencing 16S microbial | 1 | 2 | F | Sample 14 | 16S microbial
15 | OME P1 Sequencing 16S microbial | 1 | 2 | G | Sample 15 | 16S microbial
16 | OME P1 Sequencing 16S microbial | 1 | 2 | H | Sample 16 | 16S microbial
17 | OME P1 Sequencing 16S microbial | 1 | 3 | A | Sample 17 | 16S microbial
18 | OME P1 Sequencing 16S microbial | 1 | 3 | B | Sample 18 | 16S microbial
19 | OME P1 Sequencing 16S microbial | 1 | 3 | C | Sample 19 | 16S microbial
20 | OME P1 Sequencing 16S microbial | 1 | 3 | D | Sample 20 | 16S microbial
21 | OME P1 Sequencing 16S microbial | 1 | 3 | E | Sample 21 | 16S microbial
22 | OME P1 Sequencing 16S microbial | 1 | 3 | F | Sample 22 | 16S microbial
23 | OME P1 Sequencing 16S microbial | 1 | 3 | G | Sample 23 | 16S microbial
24 | OME P1 Sequencing 16S microbial | 1 | 3 | H | Sample 24 | 16S microbial
25 | OME P1 Sequencing 16S microbial | 1 | 4 | A | Sample 25 | 16S microbial
26 | OME P1 Sequencing 16S microbial | 1 | 4 | B | Sample 26 | 16S microbial
27 | OME P1 Sequencing 16S microbial | 1 | 4 | C | Sample 27 | 16S microbial
28 | OME P1 Sequencing 16S microbial | 1 | 4 | D | Sample 28 | 16S microbial
29 | OME P1 Sequencing 16S microbial | 1 | 4 | E | Sample 29 | 16S microbial
30 | OME P1 Sequencing 16S microbial | 1 | 4 | F | Sample 30 | 16S microbial
31 | OME P1 Sequencing 16S microbial | 1 | 4 | G | Sample 31 | 16S microbial
32 | OME P1 Sequencing 16S microbial | 1 | 4 | H | Sample 32 | 16S microbial
33 | OME P1 Sequencing 16S microbial | 1 | 5 | A | Sample 33 | 16S microbial
34 | OME P1 Sequencing 16S microbial | 1 | 5 | B | Sample 34 | 16S microbial
35 | OME P1 Sequencing 16S microbial | 1 | 5 | C | Sample 35 | 16S microbial
36 | OME P1 Sequencing 16S microbial | 1 | 5 | D | Sample 36 | 16S microbial
37 | OME P1 Sequencing 16S microbial | 1 | 5 | E | Sample 37 | 16S microbial
38 | OME P1 Sequencing 16S microbial | 1 | 5 | F | Sample 38 | 16S microbial
39 | OME P1 Sequencing 16S microbial | 1 | 5 | G | Sample 39 | 16S microbial
40 | OME P1 Sequencing 16S microbial | 1 | 5 | H | Sample 40 | 16S microbial
41 | OME P1 Sequencing 16S microbial | 1 | 6 | A | Sample 41 | 16S microbial
42 | OME P1 Sequencing 16S microbial | 1 | 6 | B | Sample 42 | 16S microbial
43 | OME P1 Sequencing 16S microbial | 1 | 6 | C | Sample 43 | 16S microbial
44 | OME P1 Sequencing 16S microbial | 1 | 6 | D | Sample 44 | 16S microbial
45 | OME P1 Sequencing 16S microbial | 1 | 6 | E | Sample 45 | 16S microbial
46 | OME P1 Sequencing 16S microbial | 1 | 6 | F | Sample 46 | 16S microbial
47 | OME P1 Sequencing 16S microbial | 1 | 6 | G | Sample 47 | 16S microbial
48 | OME P1 Sequencing 16S microbial | 1 | 6 | H | Sample 48 | 16S microbial
49 | OME P1 Sequencing 16S microbial | 1 | 7 | A | Sample 49 | 16S microbial
50 | OME P1 Sequencing 16S microbial | 1 | 7 | B | Sample 50 | 16S microbial
51 | OME P1 Sequencing 16S microbial | 1 | 7 | C | Sample 51 | 16S microbial
52 | OME P1 Sequencing 16S microbial | 1 | 7 | D | Sample 52 | 16S microbial
53 | OME P1 Sequencing 16S microbial | 1 | 7 | E | Sample 53 | 16S microbial
54 | OME P1 Sequencing 16S microbial | 1 | 7 | F | Sample 54 | 16S microbial
55 | OME P1 Sequencing 16S microbial | 1 | 7 | G | Sample 55 | 16S microbial
56 | OME P1 Sequencing 16S microbial | 1 | 7 | H | Sample 56 | 16S microbial
57 | OME P1 Sequencing 16S microbial | 1 | 8 | A | Sample 57 | 16S microbial
58 | OME P1 Sequencing 16S microbial | 1 | 8 | B | Sample 58 | 16S microbial
59 | OME P1 Sequencing 16S microbial | 1 | 8 | C | Sample 59 | 16S microbial
60 | OME P1 Sequencing 16S microbial | 1 | 8 | D | Sample 60 | 16S microbial
61 | OME P1 Sequencing 16S microbial | 1 | 8 | E | Sample 61 | 16S microbial
62 | OME P1 Sequencing 16S microbial | 1 | 8 | F | Sample 62 | 16S microbial
63 | OME P1 Sequencing 16S microbial | 1 | 8 | G | Sample 63 | 16S microbial
64 | OME P1 Sequencing 16S microbial | 1 | 8 | H | Sample 64 | 16S microbial
65 | OME P1 Sequencing 16S microbial | 1 | 9 | A | Sample 65 | 16S microbial
66 | OME P1 Sequencing 16S microbial | 1 | 9 | B | Sample 66 | 16S microbial
67 | OME P1 Sequencing 16S microbial | 1 | 9 | C | Sample 67 | 16S microbial
68 | OME P1 Sequencing 16S microbial | 1 | 9 | D | Sample 68 | 16S microbial
69 | OME P1 Sequencing 16S microbial | 1 | 9 | E | Sample 69 | 16S microbial
70 | OME P1 Sequencing 16S microbial | 1 | 9 | F | Sample 70 | 16S microbial
71 | OME P1 Sequencing 16S microbial | 1 | 9 | G | Sample 71 | 16S microbial
72 | OME P1 Sequencing 16S microbial | 1 | 9 | H | Sample 72 | 16S microbial
73 | OME P1 Sequencing 16S microbial | 1 | 10 | A | Sample 73 | 16S microbial
74 | OME P1 Sequencing 16S microbial | 1 | 10 | B | Sample 74 | 16S microbial
75 | OME P1 Sequencing 16S microbial | 1 | 10 | C | Sample 75 | 16S microbial
76 | OME P1 Sequencing 16S microbial | 1 | 10 | D | Sample 76 | 16S microbial
77 | OME P1 Sequencing 16S microbial | 1 | 10 | E | Sample 77 | 16S microbial
78 | OME P1 Sequencing 16S microbial | 1 | 10 | F | Sample 78 | 16S microbial
79 | OME P1 Sequencing 16S microbial | 1 | 10 | G | Sample 79 | 16S microbial
80 | OME P1 Sequencing 16S microbial | 1 | 10 | H | Sample 80 | 16S microbial
81 | OME P1 Sequencing 16S microbial | 1 | 11 | A | Sample 81 | 16S microbial
82 | OME P1 Sequencing 16S microbial | 1 | 11 | B | Sample 82 | 16S microbial
83 | OME P1 Sequencing 16S microbial | 1 | 11 | C | Sample 83 | 16S microbial
84 | OME P1 Sequencing 16S microbial | 1 | 11 | D | Sample 84 | 16S microbial
85 | OME P1 Sequencing 16S microbial | 1 | 11 | E | Sample 85 | 16S microbial
86 | OME P1 Sequencing 16S microbial | 1 | 11 | F | Sample 86 | 16S microbial
87 | OME P1 Sequencing 16S microbial | 1 | 11 | G | Sample 87 | 16S microbial
88 | OME P1 Sequencing 16S microbial | 1 | 11 | H | Sample 88 | 16S microbial
89 | OME P1 Sequencing 16S microbial | 1 | 12 | A | Sample 89 | 16S microbial
90 | OME P1 Sequencing 16S microbial | 1 | 12 | B | Sample 90 | 16S microbial
91 | OME P1 Sequencing 16S microbial | 1 | 12 | C | Sample 91 | 16S microbial
92 | OME P1 Sequencing 16S microbial | 1 | 12 | D | Sample 92 | 16S microbial
93 | OME P1 Sequencing 16S microbial | 1 | 12 | E | Sample 93 | 16S microbial
94 | OME P1 Sequencing 16S microbial | 1 | 12 | F | Sample 94 | 16S microbial
95 | OME P1 Sequencing 16S microbial | 1 | 12 | G | BLANK | 16S microbial
96 | OME P1 Sequencing 16S microbial | 1 | 12 | H | POSITIVE | 16S microbial